# Text boxes

Wall Boxes (termination/distribution)

Dimensions (mm) BA12

Wide	Height 	Depth

255		400	86

Dimensions (mm) BA6

Wide	Height 	Depth

255		292	86

- Interface network

BA Boxes

Outdoor

- Last point distribution for FTTH network.

- Up to 12 or 24 optical fiber splices.

- With IP55 protection; suitable for outdoor installation.

- Equipped with a splice tray, coupling plate.

- Flexible construction; variety of different coupling/pigtail combinations.