# Text boxes

Wall Boxes (termination/distribution)

Dimensions (mm)

Wide	Height 	Depth

160		210	60

Indoor

BDI

Branch-off to residential premises

- Indoor distribution Box

- Connection via pigtails

- IP31 protection

- Cassette for fibre management

- Compatible to 12ea SC, ST, FC, SC duplex and VF45